## Slide 1: Design and Development of Smart Water Purification Level Tester for Visually Impaired Person
8th International Workshop on Computer Science and Engineering (WCSE 2018) to Bangkok, Thailand
Presented by:
Md. Khabbab Hossain Tusher
East West University
Department of Computer Science and Engineering
Dhaka-1212,Bangladesh

## Slide 2: Summary
Introduction
Existing devices for blind people
Water purification tester (existing)
Our proposed system
System testing
Conclusion and future plan

## Slide 3: Introduction
Vision Impairment is one of such a kind physical disability that many people have around the world.
Those data are collected from WHO.
Smart device for them for determining the purity level of drinking water based on conductivity properties.
We have a plan to extend this device as a liquid identification (any liquid substance) meter for blind person.
Some sort of VI | 253M
Near VI | 1.1B
Totally Blind | 36M
Age 50+ | 81%
Age less then 15 | 19M
Working in Ireland | 16%
Other Work | 41.36% and 33%

## Slide 4: Overview of Existing Device For Blind People
Social app for helping visually impaired people.
Helping by question answering
5000 active user
  1.VizWiz Social

## Slide 5: Overview of Existing Device For Blind People
Prototype state (under research) .
Wearable device
Read the printed lines during the movement of the device
  2. FingerReader
The Finger Reader Device of MIT

## Slide 6: Overview of Existing Device For Blind People
First tablet for blind people.
start selling for about $500
This device easily performs the communication with personal computer via serial port
  3. Bitlab
The Bitlab tablet

## Slide 7: Overview of Existing Devices for Measuring Water Purification level
the transparent level of the water
It uses light transmittance and sees the scattering rate and then checks the turbidity
  1. OBS-3+ Turbidity Sensor

## Slide 8: Overview of Existing Devices for Measuring Water Purification level
. It measures total dissolved solid in water through the conductivity properties of water
  2. Xiomi TDS Pen

## Slide 9: Proposed System Design and Implementation
  Hardware and Software Components
  The main component of our system is designing the conductivity sensor or conductivity probe for measuring the conductivity level of water
    Meter Calibration and Testing
    The accuracy of any sensor/meter (in our case, EC probe), depends on calibration
Lets discuss our Technique in details

## Slide 10: Proposed System Design and Implementation
  Hardware and Software Components
Fig. : The data flow diagram
Pure Silver Wire
10K register
The microcontroller (in our case raspberry pi)
Python script for collecting and processing the data.

## Slide 11: Proposed System Design and Implementation
  Hardware and Software Components
Fig. : The circuit diagram of the system.
Pure Silver Wire
10K register
The microcontroller (in our case raspberry pi)
Python script for collecting and processing the data.

## Slide 12: Proposed System Design and Implementation
  Hardware and Software Components
Table 1: The hardware components list
Name of the components | Purpose
Raspberry Pi Zero [8] | The main controlling board
Speaker | For audio output
EC. Probe | For collecting conductivity data
Battery | Power source
Push button | For testing/on/off

## Slide 13: Proposed System Design and Implementation
  Hardware and Software Components
  Meter Calibration and Testing
We choose distilled water as standard pure water, since distilled water does not contain any minerals.
A thermometer is needed for recording the water temperature during the calibration process.
Standard TDS meter.
result is compared with standard TDS meter’s reading (available in the market).

## Slide 14: Proposed System Design and Implementation
  Hardware and Software Components
  System Integration
The whole system is integrated together with all the hardware components as shown in the circuit diagram
We used the open source text to speech engine for reading the text

## Slide 15: Conclusion
In Conclusion:
The design and implementation of water purification measurement device are presented. The conceptual device design is also included in this paper. This smart device is useful for blind people which may reduce the complexity of their lives with respect to water purification level measurement. This device is also used as a water purification tester for robotics system (service robot). We have a plan to extend this device as a liquid identification (any liquid substance) meter for blind person.
Future Work:
Mobile based purification tester(E.C.Probe) for visually impaired person as well as planning to extend this device for all type of liquid substance detection and recognition system. Additionally, integrate this device with service robot for as water purification testing sensor.

## Slide 16: References

## Slide 17
A/2, Jahurul Islam Avenue | Jahurul Islam City | Aftabnagar |
Dhaka-1212 | Bangladesh
www.ewubd.edu
Thank you
for your attention